## SAT_Subs
Section | SubSection | Substation | TSM Bus Num | Circuit
Substation | Single operating bus / single breaker | Camden |  | NA
Substation | Double operating bus / single beaker | Johanna |  | NA
Substation | Double operating bus / double breaker | Telegraph |  | NA
Substation | Ring bus | Arbors |  | NA
Substation | Customer sub | Arbors |  | NA
Substation | Foreign source | Alola |  | NA
Substation | Loop fed substation | Edinger (Camden source) |  | NA
Substation | Pole top substation | Camp Nelson |  | NA
Substation | Two stage capacitor bank | Hanford |  | NA
Substation | Load tap changing transformer | Cajalco |  | NA
Substation | Voltage regulator | Edinger (Camden source) |  | NA
Voltage Class | 2.4kV | Alola
Voltage Class | 4kV | Edinger
Voltage Class | 4.8kV | Blythe City
Voltage Class | 7kV | Camp 10
Voltage Class | 12kV | Johanna
Voltage Class | 16kV | Sawtelle
Voltage Class | 25kV | Hi Desert
Voltage Class | 33kV | Santiago
Equipment | Recloser | Cajalco
Equipment | RFI | Camden
Equipment | Pole Disconnect | Camp Nelson
Equipment | Network Protector | State Street
Equipment | RCS | Camden
Equipment | RCS+ | Camden
Equipment | RSR | Camden
Equipment | RIS | Johanna
Equipment | PE Gear - Composite Switch | State Street
Equipment | PE Gear - Non-composite Switch | Sawtelle
Equipment | Primary Meter | Camden
Equipment | Line sub | Sawtelle
Equipment | RAMT | Sawtelle
Equipment | RAG | Santiago
Equipment | RAK | Mt. Wilson
Equipment | VFI | Santiago
Equipment | Voltage regulator | Camp Nelson
Equipment | Cogen | Camden
Equipment | Isolation Bank | Cajalco
System Conditions | 3/4 wire switching | Cajalco
System Conditions | System parallel switching | Gisler
System Conditions | System parallel switching | Camden

## SwCenterTracker
SwCenter | Total Stations | Pilot A-System | Stations | Estimate
Orange County Switch Ctr | 56 | SANTIAGO | 11 | 2-3 weeks | 15 stations = 1 week approximation
El Nido Switch Center | 58 | EL NIDO | 13 | 2-3 weeks
Vincent Switch Center | 46 | SAUGUS | 13 | 2-3 weeks
Mira Loma Switch Center | 46 | MIRA LOMA | 14 | 2-3 weeks
Control Switch Center | 17 | INYO | 15 | 1 week
Ventura Switch Center | 47 | MOORPARK | 15 | 2-3 weeks
Vista Switch Center | 53 | SAN BERNARDINO | 15 | 2-3 weeks
Eldorado Switch Center | 18 | EL DORADO | 16 | 1 week
Rector Switch Center | 56 | VESTAL | 16 | TBD
Lugo Switch Center | 40 | VICTOR | 17 | TBD
Lighthipe Switch Center | 87 | LIGHTHIPE | 18 | TBD
Mesa Switch Center | 48 | MESA | 26 | TBD
Valley Switch Center | 34 | VALLEY | 32 | TBD
Devers Switch Center | 55 | DEVERS | 33 | TBD
All stations | 661
All A-Pilot Stations | 254
Network Coverage % | 38.4266

## Station Pilot
Switching Center | Station | BusNumber
Control Switch Center | Casa Diablo 33/12 | 506/543
Devers Switch Center | Devers and neighbors | 10 stations
El Nido Switch Center | Rolling Hills 16/4 | 226/227
Eldorado Switch Center | Gale 33 | 4255
Lighthipe Switch Center | Lighthipe 12 | 243
Lugo Switch Center | Inyokern 33/12 | 201/202
Mesa Switch Center | Mesa 16 | 725
Mira Loma Switch Center | Mira Loma 12 | 431
Orange County Switch Ctr | Santiago and neighbors
Rector Switch Center | Rector 12 | 3321
Valley Switch Center | Skylark 12 | 3303
Ventura Switch Center | Santa Barbara 16 | 823
Vincent Switch Center | San Fernando 16 | 3507
Vista Switch Center | Highland 12 | 3212
LVM | Nelson 33/12 | 662/3439
| Victor 33/12 | 404/3522
| Alessandro 33/12 | 3277/3275
Santiago
Devers
SAT Testing
| Camden | 3311
| Johanna | 3527
| Telegraph | 3494
| Arbors | 1753
| Alola | DNE
| Camp Nelson | DNE
| Hanford | 959
| Cajalco | 3465
| Edinger | 3086/3087
| Blythe City 12/4/33 | 3202/3203/3213
| Camp 10 | 4305/4307
| Sawtelle | 3290
| Hi Desert | 2043/2044
| State Street | 382
| Mt. Wilson | DNE?
| Gisler | 1504
Extra Johanna A
| FAIRVIEW | 161
| CHESTNUT | 3489
| CABRILLO | 157
Note on C3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Irvine - 3297 Macarthur - 1200 Crown - 1537 Borrego - 3286 Morro - 3300 Niguel - 3478 Moulton - 4202 Las Lomas - 4301 University - 1848 Chip - 1824
Note on C10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Irvine - 3297 Macarthur - 1200 Crown - 1537 Borrego - 3286 Morro - 3300 Niguel - 3478 Moulton - 4202 Las Lomas - 4301 University - 1848 Chip - 1824

## SwCenterList
Control Switch Center
Devers Switch Center
El Nido Switch Center
Eldorado Switch Center
Lighthipe Switch Center
Lugo Switch Center
Mesa Switch Center
Mira Loma Switch Center
null
Orange County Switch Ctr
Rector Switch Center
Valley Switch Center
Ventura Switch Center
Vincent Switch Center
Vista Switch Center

## NoScada
Station | Scada
DEEP SPRINGS | No
GLEN IVY | No
GOLDSTONE | No
MARS | No
MWD LAKE MATHEWS | No
PARKER STRIP | No
BIG BEND BIA | No
BIG RIVER | No
BLACK MEADOWS | No
COMPRESS | No
COVE | No
DAGGETT
HARPER LAKE
LA COLINA
MT. VERNON
SAN ONOFRE
WHITE MT.
BASTA
CANADIAN
CANTIL
DESAL
DESERT OUTPOST
EAGLE MOUNTAIN
FOREST HOME
HOLGATE
IRON MT. SCE
KERN RIVER 1
LINDEN
MILITARY
NORTH INTAKE
NORTH MUROC
PEBBLY BEACH
PEERLESS
REDMAN
RIPLEY
THUMSGEN
TOPANGA
TWENTYNINE PALMS
ACTON
AMBOY
BAKER
BARTOLO
BELVEDERE
BOLSA
BROWNING
CALCITY
CAPTIVE
CASA DIABLO
CEDARWOOD
CHATHAM
COLOSSUS
COMPTON
CONVERSE FLATS
COSO
DATABANK
DEFRAIN
DOCK
DOWNEY
DUNES
EL SOBRANTE
FRANCIS
GALE
GALLATIN
GORMAN
GOULD
GREAT LAKES
HANJIN
HARVARD
HEDDA
IVAR
JOSHUA TREE
JUNE LAKE
KEMPSTER
LANDING
LEE VINING
LINDSAY
LORAINE
LUNADA
MOBILOIL
NEENACH
NIAGARA
NORTHWIND
OLIVE LAKE
ORDWAY
ORO GRANDE
ORTEGA
PALMDALE
PAPER
PEREZ
PITMAN
PIUTE
RECTIFIER
RECTOR
RIDGECREST
RUBIDOUX
RUNNING SPRINGS
RUSH CREEK
SANTEE
SEARLES
SHRED
SHULTZ
SIGGEN
SMILEY
SOUTHBASE
SOUTHWIND
STODDARD
STRATHMORE
TERRA BELLA
THRIVE
TIMBERWINE
TRONA
VENIDA
VENWIND
VISALIA
WALKER BASIN
WESBASIN
WILSONA
WOODVILLE
BOOST
CAMP 10
CORRECTION
DEVERS
DUNN SIDING
EDWARDS
FORGE
GOLDHILL
GREENHORN
HAIWEE
HELIJET
INYOKERN TOWN
LUNDY
MINARET
NAVY MOLE
PIER
PLASTIC
POLARIS
POOLE
PROCESS
RECOVERY
RIVERTEX
SHIP
SOCO
SONY
STEVEDORE
TAHITI
UNIVERSAL
WHARF

## SwCenter
Bsub | Asub_AOR_[values] | SwCtr_[values]
BISHOP_CREEK_NO.2 | INYO SCE | Control Switch Center
BISHOP_CREEK_NO.4 | INYO SCE | Control Switch Center
BRIDGEPORT | INYO SCE | Control Switch Center
CAIN_RANCH P.T. | INYO SCE | Control Switch Center
CASA_DIABLO | INYO SCE | Control Switch Center
CRAWFORD P.T. | INYO SCE | Control Switch Center
DEEP_SPRINGS | INYO SCE | Control Switch Center
DRINKWATER P.T. | LDWP SYSTEM | Control Switch Center
DWP_POWER_PLANT_1 | LDWP SYSTEM | Control Switch Center
EMIGRANT P.T. | LDWP SYSTEM | Control Switch Center
FALLS P.T. | INYO SCE | Control Switch Center
HESSION P.T. | INYO SCE | Control Switch Center
JUNE_LAKE | INYO SCE | Control Switch Center
KEELER P.T. | INYO SCE | Control Switch Center
LEE_VINING | INYO SCE | Control Switch Center
LUNDY | INYO SCE | Control Switch Center
MINARET | INYO SCE | Control Switch Center
MT. TOM | INYO SCE | Control Switch Center
POOLE | INYO SCE | Control Switch Center
RUSH_CREEK | INYO SCE | Control Switch Center
SHERWIN | INYO SCE | Control Switch Center
SKILAND | INYO SCE | Control Switch Center
VALENTINE P.T. | INYO SCE | Control Switch Center
WHITE_MT. | INYO SCE | Control Switch Center
ZACK | INYO SCE | Control Switch Center
AHA P.T. | BLYTHE WALC | Devers Switch Center
AMBOY | DEVERS | Devers Switch Center
AVENTURA P.T. | DEVERS | Devers Switch Center
BANNING | DEVERS | Devers Switch Center
BELDING | DEVERS | Devers Switch Center
BIG_BEND_BIA | PARKER | Devers Switch Center
BLACK_MEADOWS | PARKER | Devers Switch Center
BLYTHE_SCE | BLYTHE WALC | Devers Switch Center
BLYTHE_WALC | WALC SYSTEM | Devers Switch Center
BOOTH_ROAD_(BIA) | BLACK PEAK | Devers Switch Center
CABAZON | DEVERS | Devers Switch Center
CAMINO | MWD SYSTEM | Devers Switch Center
CARODEAN | DEVERS | Devers Switch Center
CATHEDRAL_CITY | DEVERS | Devers Switch Center
CHOLLITA P.T. | DEVERS | Devers Switch Center
COFFEE | DEVERS | Devers Switch Center
CONCHO | DEVERS | Devers Switch Center
COVE | DEVERS | Devers Switch Center
DEFRAIN | BLYTHE WALC | Devers Switch Center
DESERT_OUTPOST | DEVERS | Devers Switch Center
DEVERS | DEVERS | Devers Switch Center
DUNES | BLYTHE WALC | Devers Switch Center
DYSART P.T. | DEVERS | Devers Switch Center
EAGLE_MOUNTAIN | EAGLE MOUNTAIN | Devers Switch Center
EISENHOWER | DEVERS | Devers Switch Center
FARRELL | DEVERS | Devers Switch Center
FOGARTY | DEVERS | Devers Switch Center
GARNET | DEVERS | Devers Switch Center
GUNSITE P.T. | DEVERS | Devers Switch Center
HAIWEE | MWD SYSTEM | Devers Switch Center
HAVASU | PARKER | Devers Switch Center
HI_DESERT | DEVERS | Devers Switch Center
HOLIDAY | DEVERS | Devers Switch Center
INDIAN_WELLS | DEVERS | Devers Switch Center
IRON_MT. SCE | MWD SYSTEM | Devers Switch Center
JOSHUA_TREE | DEVERS | Devers Switch Center
LANDING | PARKER | Devers Switch Center
LIZARD P.T. | DEVERS | Devers Switch Center
MESCALERO P.T. | DEVERS | Devers Switch Center
MOCKINGBIRD P.T. | DEVERS | Devers Switch Center
MORONGO P.T. | DEVERS | Devers Switch Center
NORTH_INTAKE | BLYTHE WALC | Devers Switch Center
NORTHSTAR P.T. | DEVERS | Devers Switch Center
NUGGET | DEVERS | Devers Switch Center
OLIVE_LAKE | BLYTHE WALC | Devers Switch Center
OUTLET P.T. | DEVERS | Devers Switch Center
PALM_CANYON | DEVERS | Devers Switch Center
PALM_SPRINGS | DEVERS | Devers Switch Center
PALM_VILLAGE | DEVERS | Devers Switch Center
PARKER_STRIP | PARKER | Devers Switch Center
PEACOR P.T. | DEVERS | Devers Switch Center
PHEASANT P.T. | DEVERS | Devers Switch Center
RIPLEY | BLYTHE WALC | Devers Switch Center
SANTA_ROSA | DEVERS | Devers Switch Center
SDGE_AVOCADO | MWD SYSTEM | Devers Switch Center
SECOND_AVENUE | BLYTHE WALC | Devers Switch Center
SILVER_SPUR | DEVERS | Devers Switch Center
SKYBORNE P.T. | DEVERS | Devers Switch Center
SNAKE P.T. | DEVERS | Devers Switch Center
SNOWCREEK P.T. | DEVERS | Devers Switch Center
SOUTHRIDGE P.T. | DEVERS | Devers Switch Center
STEWVAL P.T. | MWD SYSTEM | Devers Switch Center
SUBSTATION_72 | WALC SYSTEM | Devers Switch Center
SUNNY_DUNES | DEVERS | Devers Switch Center
TAMARISK | DEVERS | Devers Switch Center
THORNHILL | DEVERS | Devers Switch Center
THUNDERBIRD | DEVERS | Devers Switch Center
TWENTYNINE_PALMS | DEVERS | Devers Switch Center
VENWIND | DEVERS | Devers Switch Center
VERDANT | BLYTHE WALC | Devers Switch Center
WHIPPLE | PARKER | Devers Switch Center
WHITEWATER | DEVERS | Devers Switch Center
YUCCA | DEVERS | Devers Switch Center
AZBUILT P.T. | LA FRESA | El Nido Switch Center
BAYEND P.T. | LA FRESA | El Nido Switch Center
BEDFORD | LA CIENEGA | El Nido Switch Center
BEVERLY | LA CIENEGA | El Nido Switch Center
BLUFF_COVE | LA FRESA | El Nido Switch Center
BRIDGE | LA FRESA | El Nido Switch Center
BRIGHTON | LA FRESA | El Nido Switch Center
BUGGY_U.G.S. | LA FRESA | El Nido Switch Center
COLORADO | LA CIENEGA | El Nido Switch Center
COMPRESS | LA FRESA | El Nido Switch Center
CREST | LA FRESA | El Nido Switch Center
CRESTWIND_U.G.S. | LA FRESA | El Nido Switch Center
CULVER | LA CIENEGA | El Nido Switch Center
DITMAR | LA FRESA | El Nido Switch Center
DOHENY | LA CIENEGA | El Nido Switch Center
DUHON P.T. | LA FRESA | El Nido Switch Center
EL_NIDO | EL NIDO | El Nido Switch Center
EL_PORTO | EL NIDO | El Nido Switch Center
FELTON | EL NIDO | El Nido Switch Center
FORTY_EIGHT_ST. P.T. | LA CIENEGA | El Nido Switch Center
GAFFEY P.T. | LA FRESA | El Nido Switch Center
HAVEDA | LA FRESA | El Nido Switch Center
HOWARD | LA FRESA | El Nido Switch Center
INGLEWOOD | EL NIDO | El Nido Switch Center
KEARNEY P.T. | LA CIENEGA | El Nido Switch Center
LA_FRESA | LA FRESA | El Nido Switch Center
LAWNDALE | EL NIDO | El Nido Switch Center
LENNOX | EL NIDO | El Nido Switch Center
LOBSTER P.T. | LA FRESA | El Nido Switch Center
LUNADA | LA FRESA | El Nido Switch Center
MADRID | LA FRESA | El Nido Switch Center
MANHATTAN | LA FRESA | El Nido Switch Center
MARINE | LA CIENEGA | El Nido Switch Center
MARYMOUNT | EL NIDO | El Nido Switch Center
MOBILOIL | LA FRESA | El Nido Switch Center
MONACO_U.G.S. | LA FRESA | El Nido Switch Center
MONETA | LA FRESA | El Nido Switch Center
MORNINGSIDE | EL NIDO | El Nido Switch Center
MOVIE | EL NIDO | El Nido Switch Center
MOYNIER P.T. | LA CIENEGA | El Nido Switch Center
NAVY_HOUSING P.T. | LA FRESA | El Nido Switch Center
OCEAN_PARK | LA CIENEGA | El Nido Switch Center
OLYMPIC | LA CIENEGA | El Nido Switch Center
PALOS_VERDES | LA FRESA | El Nido Switch Center
PAPERMATE | LA CIENEGA | El Nido Switch Center
PEACOCK_U.G.S. | LA FRESA | El Nido Switch Center
PEARL | LA CIENEGA | El Nido Switch Center
PERRY | LA FRESA | El Nido Switch Center
POLARIS | EL NIDO | El Nido Switch Center
PORTUGUESE_BEND P.T. | LA FRESA | El Nido Switch Center
REDONDO | LA FRESA | El Nido Switch Center
REPRO | EL NIDO | El Nido Switch Center
ROLLING_HILLS | LA FRESA | El Nido Switch Center
SAN_VICENTE | LA CIENEGA | El Nido Switch Center
SANTA_MONICA | LA CIENEGA | El Nido Switch Center
SAWTELLE | LA CIENEGA | El Nido Switch Center
SEPULVEDA | EL NIDO | El Nido Switch Center
SONY | LA CIENEGA | El Nido Switch Center
STIRRUP | LA FRESA | El Nido Switch Center
SURREY_U.G.S. | LA FRESA | El Nido Switch Center
TAHITI | LA CIENEGA | El Nido Switch Center
TOPAZ | LA FRESA | El Nido Switch Center
TORRANCE | LA FRESA | El Nido Switch Center
TYBURN P.T. | LA FRESA | El Nido Switch Center
VANDERLIP P.T. | LA FRESA | El Nido Switch Center
VICTORIA | LA FRESA | El Nido Switch Center
WALTERIA | LA FRESA | El Nido Switch Center
WESBASIN | EL NIDO | El Nido Switch Center
WINDSOR_HILLS | LA CIENEGA | El Nido Switch Center
YUKON | LA FRESA | El Nido Switch Center
BADWATER P.T. | NEVADA POWER | Eldorado Switch Center
BAKER | ELDORADO | Eldorado Switch Center
BARSTOW | ELDORADO | Eldorado Switch Center
CADY | ELDORADO | Eldorado Switch Center
CALCADIA P.T. | ELDORADO | Eldorado Switch Center
CIMA | ELDORADO | Eldorado Switch Center
DAGGETT | ELDORADO | Eldorado Switch Center
DUNN_SIDING | ELDORADO | Eldorado Switch Center
ETTALEE P.T. | NEVADA POWER | Eldorado Switch Center
FORT_IRWIN | ELDORADO | Eldorado Switch Center
GALE | ELDORADO | Eldorado Switch Center
GRAPEVINE P.T. | NEVADA POWER | Eldorado Switch Center
HARVARD | ELDORADO | Eldorado Switch Center
HIGH P.T. | ELDORADO | Eldorado Switch Center
HINKLEY | ELDORADO | Eldorado Switch Center
HOT_WATER P.T. | NEVADA POWER | Eldorado Switch Center
HUTT P.T. | ELDORADO | Eldorado Switch Center
LANGFORD P.T. | ELDORADO | Eldorado Switch Center
LATHROP_WELLS P.T. | NEVADA POWER | Eldorado Switch Center
MILITARY | ELDORADO | Eldorado Switch Center
MINNEOLA | ELDORADO | Eldorado Switch Center
MOUNTAIN_PASS | ELDORADO | Eldorado Switch Center
NOBLE P.T. | ELDORADO | Eldorado Switch Center
ORDWAY | ELDORADO | Eldorado Switch Center
TIEFORT | ELDORADO | Eldorado Switch Center
TORTILLA | ELDORADO | Eldorado Switch Center
VALLEY ELECT._ASSOC. | NEVADA POWER | Eldorado Switch Center
VALLEY_ELECT._ASSOC. | NEVADA POWER | Eldorado Switch Center
YERMO | ELDORADO | Eldorado Switch Center
ALBURY P.T. | DEL AMO | Lighthipe Switch Center
ALON | LIGHTHIPE | Lighthipe Switch Center
ARRINGTON P.T. | DEL AMO | Lighthipe Switch Center
ARTESIA | DEL AMO | Lighthipe Switch Center
ATHENS | LIGHTHIPE | Lighthipe Switch Center
BANDINI | LAGUNA BELL | Lighthipe Switch Center
BELMONT | ALAMITOS | Lighthipe Switch Center
BIXBY | ALAMITOS | Lighthipe Switch Center
BOOST | DEL AMO | Lighthipe Switch Center
BOVINE | DEL AMO | Lighthipe Switch Center
BOWL | HINSON | Lighthipe Switch Center
BREWSTER | LIGHTHIPE | Lighthipe Switch Center
BROADWAY | ALAMITOS | Lighthipe Switch Center
BULLIS | LIGHTHIPE | Lighthipe Switch Center
CALDEN | LAGUNA BELL | Lighthipe Switch Center
CAMERON | HINSON | Lighthipe Switch Center
CAR_WASH P.T. | DEL AMO | Lighthipe Switch Center
CARMENITA | DEL AMO | Lighthipe Switch Center
CARSON | LIGHTHIPE | Lighthipe Switch Center
CENTER | CENTER | Lighthipe Switch Center
CHERRY | HINSON | Lighthipe Switch Center
CLARK | ALAMITOS | Lighthipe Switch Center
COLDBROOK P.T. | DEL AMO | Lighthipe Switch Center
COMPTON | LIGHTHIPE | Lighthipe Switch Center
CORNUTA | DEL AMO | Lighthipe Switch Center
CUDAHY | LAGUNA BELL | Lighthipe Switch Center
CYPRESS | DEL AMO | Lighthipe Switch Center
DAELEY P.T. | CENTER | Lighthipe Switch Center
DAISY | HINSON | Lighthipe Switch Center
DAVIDSON_CITY | HINSON | Lighthipe Switch Center
DIKE | HINSON | Lighthipe Switch Center
DOCK | HINSON | Lighthipe Switch Center
DOWNEY | CENTER | Lighthipe Switch Center
ERIC | DEL AMO | Lighthipe Switch Center
FERNWOOD | LIGHTHIPE | Lighthipe Switch Center
FLAGSTONE P.T. | DEL AMO | Lighthipe Switch Center
FLORADAY | CENTER | Lighthipe Switch Center
FREMONT | LIGHTHIPE | Lighthipe Switch Center
FRUITLAND | LAGUNA BELL | Lighthipe Switch Center
GAGE | LAGUNA BELL | Lighthipe Switch Center
GALLATIN | CENTER | Lighthipe Switch Center
GRAHAM | LAGUNA BELL | Lighthipe Switch Center
GREENING | DEL AMO | Lighthipe Switch Center
HANJIN | HINSON | Lighthipe Switch Center
HARDING | LAGUNA BELL | Lighthipe Switch Center
HATHAWAY | ALAMITOS | Lighthipe Switch Center
HEADLEY P.T. | LIGHTHIPE | Lighthipe Switch Center
HEARTWELL P.T. | DEL AMO | Lighthipe Switch Center
HEDDA | DEL AMO | Lighthipe Switch Center
HUNTINGTON_PARK | LAGUNA BELL | Lighthipe Switch Center
IMPERIAL | CENTER | Lighthipe Switch Center
JAY P.T. | LIGHTHIPE | Lighthipe Switch Center
JERSEY | LIGHTHIPE | Lighthipe Switch Center
KLEMM P.T. | LAGUNA BELL | Lighthipe Switch Center
KLISS P.T. | DEL AMO | Lighthipe Switch Center
KNEELAND P.T. | DEL AMO | Lighthipe Switch Center
LA_MIRADA | DEL AMO | Lighthipe Switch Center
LAGUNA_BELL | LAGUNA BELL | Lighthipe Switch Center
LAKEWOOD | DEL AMO | Lighthipe Switch Center
LARDER | HINSON | Lighthipe Switch Center
LIGHTHIPE | LIGHTHIPE | Lighthipe Switch Center
LINDEN | LIGHTHIPE | Lighthipe Switch Center
LITTLE P.T. | LIGHTHIPE | Lighthipe Switch Center
LOCUST | HINSON | Lighthipe Switch Center
LONG P.T. | DEL AMO | Lighthipe Switch Center
LONGDON | LIGHTHIPE | Lighthipe Switch Center
LOS_CERRITOS | HINSON | Lighthipe Switch Center
LUCAS | DEL AMO | Lighthipe Switch Center
LYNWOOD | LIGHTHIPE | Lighthipe Switch Center
MARINA P.T. | ALAMITOS | Lighthipe Switch Center
MAYWOOD | LAGUNA BELL | Lighthipe Switch Center
MONTEBELLO | LAGUNA BELL | Lighthipe Switch Center
MURPHY | CENTER | Lighthipe Switch Center
NAOMI | LAGUNA BELL | Lighthipe Switch Center
NAPLES | ALAMITOS | Lighthipe Switch Center
NAVY_MOLE | HINSON | Lighthipe Switch Center
NEPTUNE | HINSON | Lighthipe Switch Center
NOLA | LIGHTHIPE | Lighthipe Switch Center
OLDFIELD | LIGHTHIPE | Lighthipe Switch Center
PASSONS | CENTER | Lighthipe Switch Center
PEBBLY_BEACH | CATALINA | Lighthipe Switch Center
PICO | HINSON | Lighthipe Switch Center
PIONEER | CENTER | Lighthipe Switch Center
QUEEN_MARY_U.G.S. | HINSON | Lighthipe Switch Center
RANDOLPH | LAGUNA BELL | Lighthipe Switch Center
RICHUSON P.T. | LIGHTHIPE | Lighthipe Switch Center
RIVERA | CENTER | Lighthipe Switch Center
RONNIE P.T. | CENTER | Lighthipe Switch Center
SANTA_FE_SPRINGS | CENTER | Lighthipe Switch Center
SEABRIGHT | HINSON | Lighthipe Switch Center
SHRED | LIGHTHIPE | Lighthipe Switch Center
SHULTZ | LAGUNA BELL | Lighthipe Switch Center
SIGGEN | CENTER | Lighthipe Switch Center
SIGNAL_HILL | LIGHTHIPE | Lighthipe Switch Center
SOMERSET | DEL AMO | Lighthipe Switch Center
SONRISA P.T. | DEL AMO | Lighthipe Switch Center
SOPER P.T. | DEL AMO | Lighthipe Switch Center
SOUTH_GATE | LAGUNA BELL | Lighthipe Switch Center
STADIUM | ALAMITOS | Lighthipe Switch Center
STATE_STREET | HINSON | Lighthipe Switch Center
STEWART | CENTER | Lighthipe Switch Center
SUNLIGHT P.T. | LIGHTHIPE | Lighthipe Switch Center
SUNNYSIDE | LIGHTHIPE | Lighthipe Switch Center
THUMSGEN | HINSON | Lighthipe Switch Center
VAIL | LAGUNA BELL | Lighthipe Switch Center
VOGAN P.T. | DEL AMO | Lighthipe Switch Center
WATSON | HINSON | Lighthipe Switch Center
WOODRUFF | DEL AMO | Lighthipe Switch Center
AFG | VICTOR | Lugo Switch Center
AMARGO | KRAMER | Lugo Switch Center
APPLE_VALLEY | VICTOR | Lugo Switch Center
ARMIJO P.T. | VICTOR | Lugo Switch Center
BESSEMER P.T. | VICTOR | Lugo Switch Center
BLUE_RIDGE P.T. | VICTOR | Lugo Switch Center
BROWN P.T. | VICTOR | Lugo Switch Center
BRYMAN | VICTOR | Lugo Switch Center
CALCITY | KRAMER | Lugo Switch Center
CANTIL | KRAMER | Lugo Switch Center
CARDINAL P.T. | VICTOR | Lugo Switch Center
CAVALRY P.T. | KRAMER | Lugo Switch Center
CHINA_RANCH P.T. | VICTOR | Lugo Switch Center
CLOG P.T. | LUGO | Lugo Switch Center
COSO | KRAMER | Lugo Switch Center
COTTONWOOD | VICTOR | Lugo Switch Center
DOMELAND P.T. | KRAMER | Lugo Switch Center
DOWNS | KRAMER | Lugo Switch Center
EAST_BARSTOW | KRAMER | Lugo Switch Center
EDWARDS | KRAMER | Lugo Switch Center
GALILEO P.T. | KRAMER | Lugo Switch Center
GEORGE_A.F.B. | VICTOR | Lugo Switch Center
GOLDHILL | VICTOR | Lugo Switch Center
GOLDSTONE | KRAMER | Lugo Switch Center
HARPER_LAKE | KRAMER | Lugo Switch Center
HELENDALE | VICTOR | Lugo Switch Center
HESPERIA | VICTOR | Lugo Switch Center
HOLGATE | KRAMER | Lugo Switch Center
HOMEWOOD P.T. | KRAMER | Lugo Switch Center
INYOKERN | KRAMER | Lugo Switch Center
INYOKERN_TOWN | KRAMER | Lugo Switch Center
JESSIE P.T. | KRAMER | Lugo Switch Center
JOBURG P.T. | KRAMER | Lugo Switch Center
KOEFLER P.T. | KRAMER | Lugo Switch Center
KRAMER | KRAMER | Lugo Switch Center
LUCERNE | VICTOR | Lugo Switch Center
MC_CLARY P.T. | VICTOR | Lugo Switch Center
NORTH_MUROC | KRAMER | Lugo Switch Center
OAK_SPRINGS P.T. | VICTOR | Lugo Switch Center
ORO_GRANDE | VICTOR | Lugo Switch Center
PEERLESS | KRAMER | Lugo Switch Center
PHELAN | VICTOR | Lugo Switch Center
RANCHO | VICTOR | Lugo Switch Center
RANDSBURG | KRAMER | Lugo Switch Center
RIDGECREST | KRAMER | Lugo Switch Center
RIVERTEX | VICTOR | Lugo Switch Center
ROADWAY | KRAMER | Lugo Switch Center
SAVAGE | VICTOR | Lugo Switch Center
SCORPION P.T. | KRAMER | Lugo Switch Center
SCOUT P.T. | VICTOR | Lugo Switch Center
SEARLES | KRAMER | Lugo Switch Center
SHORT_TERM P.T. | KRAMER | Lugo Switch Center
SOUTHBASE | KRAMER | Lugo Switch Center
STYX P.T. | VICTOR | Lugo Switch Center
TENDERFOOT P.T. | VICTOR | Lugo Switch Center
TRONA | KRAMER | Lugo Switch Center
TUMBLEWEED P.T. | KRAMER | Lugo Switch Center
VICTOR | VICTOR | Lugo Switch Center
VICTORVILLE | VICTOR | Lugo Switch Center
WEST_BARSTOW | KRAMER | Lugo Switch Center
WESTEND P.T. | KRAMER | Lugo Switch Center
WILDE | KRAMER | Lugo Switch Center
WRIGHTWOOD | VICTOR | Lugo Switch Center
ZIGGY P.T. | KRAMER | Lugo Switch Center
ALHAMBRA | EAGLE ROCK | Mesa Switch Center
ALLEN | MESA | Mesa Switch Center
AMADOR | RIO HONDO | Mesa Switch Center
AMALIA | MESA | Mesa Switch Center
ANITA | RIO HONDO | Mesa Switch Center
ARCADIA | RIO HONDO | Mesa Switch Center
ARROYO | GOULD | Mesa Switch Center
BADILLO | RIO HONDO | Mesa Switch Center
BARTOLO | MESA | Mesa Switch Center
BELVEDERE | MESA | Mesa Switch Center
BICKNELL | MESA | Mesa Switch Center
BRADBURY | RIO HONDO | Mesa Switch Center
CHEVY P.T. | GOULD | Mesa Switch Center
CITRUS | RIO HONDO | Mesa Switch Center
CLOUD P.T. | GOULD | Mesa Switch Center
COMMUNITY P.T. | GOULD | Mesa Switch Center
DALTON | RIO HONDO | Mesa Switch Center
DOLORES P.T. | GOULD | Mesa Switch Center
DUARTE | RIO HONDO | Mesa Switch Center
EATON | MESA | Mesa Switch Center
ELEMENTARY P.T. | MESA | Mesa Switch Center
ENCINAS P.T. | GOULD | Mesa Switch Center
FAIR_OAKS | GOULD | Mesa Switch Center
FAIRFAX | EAGLE ROCK | Mesa Switch Center
FOUNDERS P.T. | MESA | Mesa Switch Center
GABRIELINO P.T. | MESA | Mesa Switch Center
GARFIELD | MESA | Mesa Switch Center
GARVEY | MESA | Mesa Switch Center
GOULD | GOULD | Mesa Switch Center
GRANADA | EAGLE ROCK | Mesa Switch Center
HOYT | MESA | Mesa Switch Center
IVAR | MESA | Mesa Switch Center
LA_CANADA | GOULD | Mesa Switch Center
LA_CRESCENTA P.T. | GOULD | Mesa Switch Center
LARK_ELLEN | RIO HONDO | Mesa Switch Center
MAIDEN P.T. | MESA | Mesa Switch Center
MAYFLOWER | RIO HONDO | Mesa Switch Center
MESA | MESA | Mesa Switch Center
MICHILLINDA | MESA | Mesa Switch Center
MONROVIA | RIO HONDO | Mesa Switch Center
MT. WILSON P.T. | MESA | Mesa Switch Center
NARROWS | MESA | Mesa Switch Center
NEWMARK | MESA | Mesa Switch Center
OAKTREE P.T. | GOULD | Mesa Switch Center
OBSERVATORY P.T. | MESA | Mesa Switch Center
PLAZA P.T. | GOULD | Mesa Switch Center
RAMONA | MESA | Mesa Switch Center
RAVENDALE | MESA | Mesa Switch Center
RED_BOX P.T. | GOULD | Mesa Switch Center
REPETTO | MESA | Mesa Switch Center
RIO_HONDO | RIO HONDO | Mesa Switch Center
ROSEMEAD | MESA | Mesa Switch Center
ROXIE P.T. | RIO HONDO | Mesa Switch Center
RUSH | MESA | Mesa Switch Center
SAN_GABRIEL | MESA | Mesa Switch Center
SAN_MARINO | MESA | Mesa Switch Center
SANGAR | MESA | Mesa Switch Center
SHARON | GOULD | Mesa Switch Center
SIERRA_MADRE | RIO HONDO | Mesa Switch Center
TEMPLE | MESA | Mesa Switch Center
TERRACE | MESA | Mesa Switch Center
UNIVERSAL | EAGLE ROCK | Mesa Switch Center
WABASH | MESA | Mesa Switch Center
WESTGATE | MESA | Mesa Switch Center
WINDING P.T. | EAGLE ROCK | Mesa Switch Center
ARCHIBALD | MIRA LOMA | Mira Loma Switch Center
BAIN | MIRA LOMA | Mira Loma Switch Center
BASSETT | WALNUT | Mira Loma Switch Center
BIGGS P.T. | MIRA LOMA | Mira Loma Switch Center
CAMP_BALDY P.T. | PADUA | Mira Loma Switch Center
CHASE | MIRA LOMA | Mira Loma Switch Center
CHINO | CHINO | Mira Loma Switch Center
CHINO_TRAINING P.T. | CHINO | Mira Loma Switch Center
CORONA | MIRA LOMA | Mira Loma Switch Center
CORTEZ | WALNUT | Mira Loma Switch Center
COVINA | WALNUT | Mira Loma Switch Center
CUCAMONGA | PADUA | Mira Loma Switch Center
DATABANK | MIRA LOMA | Mira Loma Switch Center
DIAMOND_BAR | CHINO | Mira Loma Switch Center
DOS LAGOS_P.M. | MIRA LOMA | Mira Loma Switch Center
EL_SOBRANTE | MIRA LOMA | Mira Loma Switch Center
EL_SOBRANTE P.T. | MIRA LOMA | Mira Loma Switch Center
EUCLID | PADUA | Mira Loma Switch Center
FIREHOUSE | CHINO | Mira Loma Switch Center
FRANCIS | CHINO | Mira Loma Switch Center
GANESHA | CHINO | Mira Loma Switch Center
ICE_HOUSE P.T. | PADUA | Mira Loma Switch Center
INDUSTRY | WALNUT | Mira Loma Switch Center
JEFFERSON | MIRA LOMA | Mira Loma Switch Center
KIMBALL | CHINO | Mira Loma Switch Center
LAYFAIR | PADUA | Mira Loma Switch Center
LIVE_OAK | PADUA | Mira Loma Switch Center
MERCED | WALNUT | Mira Loma Switch Center
MILLIKEN | MIRA LOMA | Mira Loma Switch Center
MIRA_LOMA | MIRA LOMA | Mira Loma Switch Center
MOAB P.T. | PADUA | Mira Loma Switch Center
MWD_LAKE_MATHEWS | MIRA LOMA | Mira Loma Switch Center
NAROD | CHINO | Mira Loma Switch Center
NOGALES | WALNUT | Mira Loma Switch Center
NORCO | MIRA LOMA | Mira Loma Switch Center
ONTARIO | CHINO | Mira Loma Switch Center
PADUA | PADUA | Mira Loma Switch Center
PAPAYA P.T. | MIRA LOMA | Mira Loma Switch Center
PEDLEY | MIRA LOMA | Mira Loma Switch Center
PEREZ | MIRA LOMA | Mira Loma Switch Center
PEYTON | CHINO | Mira Loma Switch Center
PLASTIC | CHINO | Mira Loma Switch Center
POMONA | CHINO | Mira Loma Switch Center
PROCTOR | WALNUT | Mira Loma Switch Center
PUENTE | WALNUT | Mira Loma Switch Center
RAILROAD | WALNUT | Mira Loma Switch Center
RETREAT P.T. | MIRA LOMA | Mira Loma Switch Center
SAN_ANTONIO | PADUA | Mira Loma Switch Center
SAN_DIMAS | PADUA | Mira Loma Switch Center
SANTEE | WALNUT | Mira Loma Switch Center
SOQUEL | CHINO | Mira Loma Switch Center
STROH P.T. | MIRA LOMA | Mira Loma Switch Center
TEMESCAL P.T. | MIRA LOMA | Mira Loma Switch Center
TROPHY | CHINO | Mira Loma Switch Center
UPLAND | PADUA | Mira Loma Switch Center
WALNUT | WALNUT | Mira Loma Switch Center
ALOLA | null | null
TIPTON | null | null
ARCH_BEACH | SANTIAGO | Orange County Switch Ctr
ATWOOD | VILLA PARK | Orange County Switch Ctr
BARRE | BARRE | Orange County Switch Ctr
BASTA | BARRE | Orange County Switch Ctr
BAYSIDE | ELLIS | Orange County Switch Ctr
BOLSA | BARRE | Orange County Switch Ctr
BOOTS P.T. | VIEJO | Orange County Switch Ctr
BORREGO | SANTIAGO | Orange County Switch Ctr
BREA | OLINDA | Orange County Switch Ctr
BRISTOL | ELLIS | Orange County Switch Ctr
BROADCOM P.T. | JOHANNA | Orange County Switch Ctr
BROOKHURST | ELLIS | Orange County Switch Ctr
BRYAN | VILLA PARK | Orange County Switch Ctr
BURRIS_PIT_(BURPIT) | VILLA PARK | Orange County Switch Ctr
CABRILLO | JOHANNA | Orange County Switch Ctr
CAMDEN | JOHANNA | Orange County Switch Ctr
CANYON | VILLA PARK | Orange County Switch Ctr
CAROLINA | OLINDA | Orange County Switch Ctr
CEDARWOOD | BARRE | Orange County Switch Ctr
CHESTNUT | JOHANNA | Orange County Switch Ctr
CHIQUITA | VIEJO | Orange County Switch Ctr
COSTA_MESA | ELLIS | Orange County Switch Ctr
CROWN | SANTIAGO | Orange County Switch Ctr
DEWEY P.T. | SANTIAGO | Orange County Switch Ctr
EDGEWATE | SANTIAGO | Orange County Switch Ctr
EDINGER | JOHANNA | Orange County Switch Ctr
ELLIS | ELLIS | Orange County Switch Ctr
ELY | BARRE | Orange County Switch Ctr
ESTERBROOK P.T. | ELLIS | Orange County Switch Ctr
ESTRELLA | SANTIAGO | Orange County Switch Ctr
FAIRVIEW | JOHANNA | Orange County Switch Ctr
FRIENDLY_HILLS | OLINDA | Orange County Switch Ctr
FULLERTON | BARRE | Orange County Switch Ctr
GILBERT | BARRE | Orange County Switch Ctr
GISLER | ELLIS | Orange County Switch Ctr
GROVEDALE P.T. | OLINDA | Orange County Switch Ctr
HAMILTON | ELLIS | Orange County Switch Ctr
HUEY P.T. | SANTIAGO | Orange County Switch Ctr
IRVINE | SANTIAGO | Orange County Switch Ctr
IRVINE_PARK P.T. | VILLA PARK | Orange County Switch Ctr
JOCLYN P.T. | BARRE | Orange County Switch Ctr
JOHANNA | JOHANNA | Orange County Switch Ctr
LA_CUARTA P.T. | OLINDA | Orange County Switch Ctr
LA_HABRA | OLINDA | Orange County Switch Ctr
LA_PALMA | BARRE | Orange County Switch Ctr
LA_VETA | VILLA PARK | Orange County Switch Ctr
LAFAYETTE | ELLIS | Orange County Switch Ctr
LAMPSON | BARRE | Orange County Switch Ctr
LIMESTONE | VIEJO | Orange County Switch Ctr
LOUIE P.T. | ELLIS | Orange County Switch Ctr
MACARTHUR | SANTIAGO | Orange County Switch Ctr
MADRONE P.T. | BARRE | Orange County Switch Ctr
MARION | BARRE | Orange County Switch Ctr
MODENA | VILLA PARK | Orange County Switch Ctr
MORRO | SANTIAGO | Orange County Switch Ctr
MOULTON | SANTIAGO | Orange County Switch Ctr
NIGUEL | SANTIAGO | Orange County Switch Ctr
OCEANVIEW | ELLIS | Orange County Switch Ctr
OLINDA | OLINDA | Orange County Switch Ctr
ONEILL | VIEJO | Orange County Switch Ctr
ORANGE | VILLA PARK | Orange County Switch Ctr
PAPER | VILLA PARK | Orange County Switch Ctr
PARKWOOD | OLINDA | Orange County Switch Ctr
PAULARINO | ELLIS | Orange County Switch Ctr
PLACENTIA | VILLA PARK | Orange County Switch Ctr
RECOVERY | ELLIS | Orange County Switch Ctr
SANTIAGO | SANTIAGO | Orange County Switch Ctr
SHAWNEE | BARRE | Orange County Switch Ctr
SLATER | ELLIS | Orange County Switch Ctr
SOCO | ELLIS | Orange County Switch Ctr
SPANKY P.T. | ELLIS | Orange County Switch Ctr
SULLIVAN | ELLIS | Orange County Switch Ctr
SUNNYHILLS | BARRE | Orange County Switch Ctr
TALBERT | ELLIS | Orange County Switch Ctr
TEAM | BARRE | Orange County Switch Ctr
TELEGRAPH | OLINDA | Orange County Switch Ctr
TRASK | BARRE | Orange County Switch Ctr
VERA | ELLIS | Orange County Switch Ctr
VIEJO | VIEJO | Orange County Switch Ctr
VILLA_PARK | VILLA PARK | Orange County Switch Ctr
VONI P.T. | BARRE | Orange County Switch Ctr
WASHINGTON | VILLA PARK | Orange County Switch Ctr
WAVE | ELLIS | Orange County Switch Ctr
WELLINGTON P.T. | VILLA PARK | Orange County Switch Ctr
WENGE P.T. | ELLIS | Orange County Switch Ctr
YORBA_LINDA | VILLA PARK | Orange County Switch Ctr
BIG_CREEK_2 | BIG CREEK SYSTEM | Rector Switch Center
BIG_CREEK_3 | BIG CREEK SYSTEM | Rector Switch Center
BIG_CREEK_8 | BIG CREEK SYSTEM | Rector Switch Center
BIG_CREEK_NO.1 | BIG CREEK SYSTEM | Rector Switch Center
BIGFOOT P.T. | RECTOR | Rector Switch Center
BIRD_SPRINGS P.T. | VESTAL | Rector Switch Center
BLISS | SPRINGVILLE | Rector Switch Center
BOXWOOD | SPRINGVILLE | Rector Switch Center
BROWNING | VESTAL | Rector Switch Center
CAMP 10 | BIG CREEK SYSTEM | Rector Switch Center
CAMP_NELSON P.T. | SPRINGVILLE | Rector Switch Center
CAPANERO P.T. | VESTAL | Rector Switch Center
CAPTIVE | VESTAL | Rector Switch Center
CHATHAM | RECTOR | Rector Switch Center
COLUMBINE | VESTAL | Rector Switch Center
COUNTS P.T. | SPRINGVILLE | Rector Switch Center
DELANO | VESTAL | Rector Switch Center
DINKEY_CREEK P.T. | BIG CREEK SYSTEM | Rector Switch Center
DIVISADERO | RECTOR | Rector Switch Center
EARLIMART | VESTAL | Rector Switch Center
EXETER | RECTOR | Rector Switch Center
GLENNVILLE | VESTAL | Rector Switch Center
GOSHEN | RECTOR | Rector Switch Center
GRANGEVILLE | RECTOR | Rector Switch Center
GREENHORN | VESTAL | Rector Switch Center
HANFORD | RECTOR | Rector Switch Center
HAVILAH | RECTOR | Rector Switch Center
HOSSACK P.T. | SPRINGVILLE | Rector Switch Center
ISABELLA | RECTOR | Rector Switch Center
JOHNSONDALE P.T. | VESTAL | Rector Switch Center
KERN_RIVER_1 | RECTOR | Rector Switch Center
KERNVILLE | VESTAL | Rector Switch Center
KOKANEE | BIG CREEK SYSTEM | Rector Switch Center
LAUREL | RECTOR | Rector Switch Center
LEMON_COVE | RECTOR | Rector Switch Center
LIBERTY | RECTOR | Rector Switch Center
LINDSAY | SPRINGVILLE | Rector Switch Center
LINE_CREEK | BIG CREEK SYSTEM | Rector Switch Center
LUNAR | BIG CREEK SYSTEM | Rector Switch Center
MARIPOSA | VESTAL | Rector Switch Center
MCCLENNY P.T. | VESTAL | Rector Switch Center
MOONEY | RECTOR | Rector Switch Center
MT. GIVENS P.T. | BIG CREEK SYSTEM | Rector Switch Center
OAK_GROVE | RECTOR | Rector Switch Center
OCTOL | RECTOR | Rector Switch Center
PITMAN | BIG CREEK SYSTEM | Rector Switch Center
PIXLEY | VESTAL | Rector Switch Center
POPLAR | VESTAL | Rector Switch Center
PORTERVILLE | SPRINGVILLE | Rector Switch Center
POSO_PARK P.T. | VESTAL | Rector Switch Center
QUINN | VESTAL | Rector Switch Center
RANCHERIA P.T. | BIG CREEK SYSTEM | Rector Switch Center
RECTOR | RECTOR | Rector Switch Center
RIVERWAY | RECTOR | Rector Switch Center
SIPHON P.T. | BIG CREEK SYSTEM | Rector Switch Center
STRATHMORE | SPRINGVILLE | Rector Switch Center
SUGARLOAF P.T. | VESTAL | Rector Switch Center
TERRA_BELLA | VESTAL | Rector Switch Center
THREE_RIVERS | RECTOR | Rector Switch Center
TIMBERWINE | BIG CREEK SYSTEM | Rector Switch Center
TOLLHOUSE P.T. | BIG CREEK SYSTEM | Rector Switch Center
TULARE | RECTOR | Rector Switch Center
TULE_(PGAE) | SPRINGVILLE | Rector Switch Center
VENICE_HILL | RECTOR | Rector Switch Center
VENIDA | RECTOR | Rector Switch Center
VESTAL | VESTAL | Rector Switch Center
VISALIA | RECTOR | Rector Switch Center
WALKER_BASIN | RECTOR | Rector Switch Center
WELDON | VESTAL | Rector Switch Center
WHEATLAND | VESTAL | Rector Switch Center
WOODVILLE | SPRINGVILLE | Rector Switch Center
YANKEE P.T. | VESTAL | Rector Switch Center
ALESSANDRO | VALLEY | Valley Switch Center
AQUEDUCT | VALLEY | Valley Switch Center
AULD | VALLEY | Valley Switch Center
BUNKER | VALLEY | Valley Switch Center
CAJALCO | VALLEY | Valley Switch Center
CALAMAR P.T. | VALLEY | Valley Switch Center
CANINE P.T. | VALLEY | Valley Switch Center
CANYON_LAKE | VALLEY | Valley Switch Center
CARANCHO P.T. | VALLEY | Valley Switch Center
CASCADE P.T. | VALLEY | Valley Switch Center
CHALET P.T. | VALLEY | Valley Switch Center
CHALON P.T. | VALLEY | Valley Switch Center
DELUZ P.T. | VALLEY | Valley Switch Center
DRYDEN P.T. | VALLEY | Valley Switch Center
EDGEMONT | VALLEY | Valley Switch Center
ELSINORE | VALLEY | Valley Switch Center
ESCALA P.T. | VALLEY | Valley Switch Center
GAVILAN | VALLEY | Valley Switch Center
GLEN_IVY | VALLEY | Valley Switch Center
HEMET | VALLEY | Valley Switch Center
IDYLLBROOK P.T. | VALLEY | Valley Switch Center
IDYLLWILD | VALLEY | Valley Switch Center
IVYGLEN | VALLEY | Valley Switch Center
JAPANESE_MESA | SDGE SYSTEM | Valley Switch Center
JUMPER P.T. | VALLEY | Valley Switch Center
JUNCTION | SDGE SYSTEM | Valley Switch Center
LACRESTA P.T. | VALLEY | Valley Switch Center
MARGARTH P.T. | VALLEY | Valley Switch Center
MAXWELL | VALLEY | Valley Switch Center
MAYBERRY | VALLEY | Valley Switch Center
MC_CALL P.T. | VALLEY | Valley Switch Center
MODEL P.T. | VALLEY | Valley Switch Center
MORAGA | VALLEY | Valley Switch Center
MORAGA33 | VALLEY | Valley Switch Center
MORENO | VALLEY | Valley Switch Center
MURRIETTA_2 | VALLEY | Valley Switch Center
NELSON | VALLEY | Valley Switch Center
NEWCOMB | VALLEY | Valley Switch Center
NUEVO | VALLEY | Valley Switch Center
OUTLAW P.T. | VALLEY | Valley Switch Center
PAUBA | VALLEY | Valley Switch Center
PECHANGA | VALLEY | Valley Switch Center
PERRIS P.T. | VALLEY | Valley Switch Center
RECTIFIER | VALLEY | Valley Switch Center
RIDGEVIEW P.T. | VALLEY | Valley Switch Center
SAN_JACINTO | VALLEY | Valley Switch Center
SKYLARK | VALLEY | Valley Switch Center
STADLER | VALLEY | Valley Switch Center
STETSON | VALLEY | Valley Switch Center
SUN_CITY | VALLEY | Valley Switch Center
TAHQUITZ P.T. | VALLEY | Valley Switch Center
TENAJA | VALLEY | Valley Switch Center
VALLEY | VALLEY | Valley Switch Center
ASHLEY P.T. | GOLETA | Ventura Switch Center
AVOCADO P.T. | SANTA CLARA | Ventura Switch Center
AYERSMAN P.T. | GOLETA | Ventura Switch Center
BARD P.T. | SANTA CLARA | Ventura Switch Center
BARWICK P.T. | GOLETA | Ventura Switch Center
CAMAR | SANTA CLARA | Ventura Switch Center
CAMARILLO | SANTA CLARA | Ventura Switch Center
CAPITAN | GOLETA | Ventura Switch Center
CARPINTERIA | GOLETA | Ventura Switch Center
CARTVILLE P.T. | MOORPARK | Ventura Switch Center
CASITAS | SANTA CLARA | Ventura Switch Center
CASPER P.T. | SANTA CLARA | Ventura Switch Center
CASTLE P.T. | MOORPARK | Ventura Switch Center
CASTRO_PEAK | MOORPARK | Ventura Switch Center
CHANNEL_ISLAND | SANTA CLARA | Ventura Switch Center
CHATSWORTH | MOORPARK | Ventura Switch Center
CHOVY P.T. | MOORPARK | Ventura Switch Center
COLD_SPRINGS P.T. | GOLETA | Ventura Switch Center
COLONIA | SANTA CLARA | Ventura Switch Center
COPY P.T. | GOLETA | Ventura Switch Center
CORRIGAN P.T. | MOORPARK | Ventura Switch Center
COURT_HOUSE P.T. | GOLETA | Ventura Switch Center
CRATER | MOORPARK | Ventura Switch Center
DECKER P.T. | MOORPARK | Ventura Switch Center
DEIGAARD P.T. | GOLETA | Ventura Switch Center
DESAL | GOLETA | Ventura Switch Center
ELAINE P.T. | SANTA CLARA | Ventura Switch Center
ESTERO | SANTA CLARA | Ventura Switch Center
GAVIOTA | GOLETA | Ventura Switch Center
GOLETA | GOLETA | Ventura Switch Center
GONZALES | SANTA CLARA | Ventura Switch Center
ISLA_VISTA | GOLETA | Ventura Switch Center
LA_CUMBRE P.T. | GOLETA | Ventura Switch Center
LAKESIDE P.T. | MOORPARK | Ventura Switch Center
LATIGO | MOORPARK | Ventura Switch Center
LEVY | SANTA CLARA | Ventura Switch Center
LOMA_VISTA P.T. | SANTA CLARA | Ventura Switch Center
MALIBU | MOORPARK | Ventura Switch Center
MCKEVETT P.T. | SANTA CLARA | Ventura Switch Center
MODOC | GOLETA | Ventura Switch Center
MONTECITO | GOLETA | Ventura Switch Center
MOORPARK | MOORPARK | Ventura Switch Center
NEWBURY | MOORPARK | Ventura Switch Center
NIDEVER P.T. | GOLETA | Ventura Switch Center
NOGAL P.T. | GOLETA | Ventura Switch Center
OAK_PARK | MOORPARK | Ventura Switch Center
OJAI | SANTA CLARA | Ventura Switch Center
ORTEGA | GOLETA | Ventura Switch Center
OXNARD | SANTA CLARA | Ventura Switch Center
PAINTED_CAVE P.T. | GOLETA | Ventura Switch Center
PANCHITO P.T. | SANTA CLARA | Ventura Switch Center
PAR P.T. | GOLETA | Ventura Switch Center
PHARMACY | MOORPARK | Ventura Switch Center
PIERPONT | SANTA CLARA | Ventura Switch Center
PIMIENTO P.T. | GOLETA | Ventura Switch Center
PLAYA | GOLETA | Ventura Switch Center
POTRERO | MOORPARK | Ventura Switch Center
REEF P.T. | MOORPARK | Ventura Switch Center
REMBOLT P.T. | SANTA CLARA | Ventura Switch Center
RINCON P.T. | GOLETA | Ventura Switch Center
ROYAL | MOORPARK | Ventura Switch Center
SAN MIGUEL | SANTA CLARA | Ventura Switch Center
SAN_MARCOS | GOLETA | Ventura Switch Center
SAN_MIGUEL | SANTA CLARA | Ventura Switch Center
SAN_YSIDRO P.T. | GOLETA | Ventura Switch Center
SANTA_BARBARA | GOLETA | Ventura Switch Center
SATICOY | SANTA CLARA | Ventura Switch Center
SHERWOOD P.T. | MOORPARK | Ventura Switch Center
SOMIS | SANTA CLARA | Ventura Switch Center
TAPIA | MOORPARK | Ventura Switch Center
TATANKA P.T. | GOLETA | Ventura Switch Center
THOUSAND_OAKS | MOORPARK | Ventura Switch Center
TOPANGA | MOORPARK | Ventura Switch Center
VALDEZ | MOORPARK | Ventura Switch Center
VEGAS | GOLETA | Ventura Switch Center
VENTURA | SANTA CLARA | Ventura Switch Center
VIA_HUERTO P.T. | GOLETA | Ventura Switch Center
WAKEFIELD | SANTA CLARA | Ventura Switch Center
WASTEWATER | SANTA CLARA | Ventura Switch Center
WESTFALL_P.M. | GOLETA | Ventura Switch Center
WESTMONT P.T. | GOLETA | Ventura Switch Center
ACTON | ANTELOPE | Vincent Switch Center
ANAVERDE | ANTELOPE | Vincent Switch Center
BREEZE | ANTELOPE | Vincent Switch Center
CAPISTRANO_SDGE | PGAE SYSTEM | Vincent Switch Center
COLOSSUS | SAUGUS | Vincent Switch Center
CORRECTION | ANTELOPE | Vincent Switch Center
CORUM | ANTELOPE | Vincent Switch Center
CUMMINGS | ANTELOPE | Vincent Switch Center
DEL_SUR | ANTELOPE | Vincent Switch Center
ELIZABETH_LAKE | SAUGUS | Vincent Switch Center
ESCONDIDO P.T. | SAUGUS | Vincent Switch Center
FILLMORE | SAUGUS | Vincent Switch Center
FRAZIER_PARK | BAILEY | Vincent Switch Center
GOLDTOWN | ANTELOPE | Vincent Switch Center
GORMAN | BAILEY | Vincent Switch Center
GRAPEVINE_PEAK P.T. | PGAE SYSTEM | Vincent Switch Center
GREAT_LAKES | ANTELOPE | Vincent Switch Center
GREEN_VALLEY P.T. | ANTELOPE | Vincent Switch Center
GRIMSHAW P.T. | PGAE SYSTEM | Vincent Switch Center
GRISWOLD | SAUGUS | Vincent Switch Center
HASKELL | SAUGUS | Vincent Switch Center
HELIJET | ANTELOPE | Vincent Switch Center
KAGLE_CANYON P.T. | SAUGUS | Vincent Switch Center
KINGSBURG_(PGAE) | PGAE SYSTEM | Vincent Switch Center
LANCASTER | ANTELOPE | Vincent Switch Center
LITTLE_ROCK | ANTELOPE | Vincent Switch Center
LITTLE_TUJUNGA P.T. | SAUGUS | Vincent Switch Center
LOCKHEED | SAUGUS | Vincent Switch Center
LORAINE | ANTELOPE | Vincent Switch Center
MEBANE P.T. | ANTELOPE | Vincent Switch Center
MIDWIND | ANTELOPE | Vincent Switch Center
MONOLITH | ANTELOPE | Vincent Switch Center
NEENACH | ANTELOPE | Vincent Switch Center
NEWHALL | SAUGUS | Vincent Switch Center
NORTH_OAKS | SAUGUS | Vincent Switch Center
NORTHWIND | ANTELOPE | Vincent Switch Center
OASIS | ANTELOPE | Vincent Switch Center
PALMDALE | ANTELOPE | Vincent Switch Center
PIUTE | ANTELOPE | Vincent Switch Center
PORTER | SAUGUS | Vincent Switch Center
QUARTZ_HILL | ANTELOPE | Vincent Switch Center
REDMAN | ANTELOPE | Vincent Switch Center
RITTER_RANCH | ANTELOPE | Vincent Switch Center
ROCKY P.T. | SAUGUS | Vincent Switch Center
ROSAMOND | ANTELOPE | Vincent Switch Center
SAN_FERNANDO | SAUGUS | Vincent Switch Center
SANTA_SUSANA | SAUGUS | Vincent Switch Center
SAUGUS | SAUGUS | Vincent Switch Center
SESPE P.T. | SAUGUS | Vincent Switch Center
SHUTTLE | ANTELOPE | Vincent Switch Center
SOLEMINT | SAUGUS | Vincent Switch Center
SOUTHWIND | ANTELOPE | Vincent Switch Center
TAFT | PGAE SYSTEM | Vincent Switch Center
TEJON_(PGAE) | PGAE SYSTEM | Vincent Switch Center
TEJON_PEAK P.T. | BAILEY | Vincent Switch Center
WILSONA | ANTELOPE | Vincent Switch Center
ALDER | ETIWANDA | Vista Switch Center
ALLVIEW P.T. | VISTA | Vista Switch Center
ALPINE P.T. | VISTA | Vista Switch Center
ARCHLINE | ETIWANDA | Vista Switch Center
ARRO | SAN BERNARDINO | Vista Switch Center
ARROWHEAD | VISTA | Vista Switch Center
BEAUMONT | VISTA | Vista Switch Center
BELVEDERE P.T. | SAN BERNARDINO | Vista Switch Center
BLOOMINGTON | VISTA | Vista Switch Center
BLUE_CUT P.T. | VISTA | Vista Switch Center
BROOKINGS P.T. | VISTA | Vista Switch Center
BURNT_MILL | VISTA | Vista Switch Center
CALECTRIC | VISTA | Vista Switch Center
CAMP_ANGELUS P.T. | VISTA | Vista Switch Center
CANADIAN | VISTA | Vista Switch Center
CARDIFF | SAN BERNARDINO | Vista Switch Center
CEDAR_PINES P.T. | VISTA | Vista Switch Center
CHILLON P.T. | VISTA | Vista Switch Center
COLTON | VISTA | Vista Switch Center
CONVERSE_FLATS | VISTA | Vista Switch Center
COTTAGE_GROVE | VISTA | Vista Switch Center
COULTER P.T. | VISTA | Vista Switch Center
CRUMP P.T. | VISTA | Vista Switch Center
DALBA P.T. | VISTA | Vista Switch Center
DECLEZ | ETIWANDA | Vista Switch Center
DEL_ROSA | SAN BERNARDINO | Vista Switch Center
EL_CASCO | SAN BERNARDINO | Vista Switch Center
ETIWANDA | ETIWANDA | Vista Switch Center
FLANCO | ETIWANDA | Vista Switch Center
FOREST_HOME | VISTA | Vista Switch Center
FORGE | ETIWANDA | Vista Switch Center
GENAMIC | ETIWANDA | Vista Switch Center
GLEN_AVON | VISTA | Vista Switch Center
GREEN_BEAR P.T. | VISTA | Vista Switch Center
HIGH_SCHOOL P.T. | VISTA | Vista Switch Center
HIGHLAND | SAN BERNARDINO | Vista Switch Center
HOMART | VISTA | Vista Switch Center
HOOK_CREEK P.T. | VISTA | Vista Switch Center
HUSTON | VISTA | Vista Switch Center
JOB P.T. | VISTA | Vista Switch Center
KEMPSTER | VISTA | Vista Switch Center
KIMBERLY P.T. | SAN BERNARDINO | Vista Switch Center
KUFFEL P.T. | VISTA | Vista Switch Center
LA_COLINA | VISTA | Vista Switch Center
LURING P.T. | VISTA | Vista Switch Center
MARASCHINO | VISTA | Vista Switch Center
MENTONE | VISTA | Vista Switch Center
MT. VERNON | VISTA | Vista Switch Center
MUSCOY | VISTA | Vista Switch Center
NORTH_BAY P.T. | VISTA | Vista Switch Center
OAK_KNOLL P.T. | VISTA | Vista Switch Center
PACHAPPA P.T. | VISTA | Vista Switch Center
PEPPER | VISTA | Vista Switch Center
RANDALL | ETIWANDA | Vista Switch Center
RANGER P.T. | VISTA | Vista Switch Center
REDLANDS | SAN BERNARDINO | Vista Switch Center
RIALTO | VISTA | Vista Switch Center
RUBIDOUX | VISTA | Vista Switch Center
RUNNING_SPRINGS | VISTA | Vista Switch Center
SAN_BERNARDINO | SAN BERNARDINO | Vista Switch Center
SANTA_ANA_RIVER 1 | SAN BERNARDINO | Vista Switch Center
SHANDIN | VISTA | Vista Switch Center
SIXTEENTH_STREET | VISTA | Vista Switch Center
SMILEY | SAN BERNARDINO | Vista Switch Center
STODDARD | SAN BERNARDINO | Vista Switch Center
TENNESSEE | SAN BERNARDINO | Vista Switch Center
THRIVE | VISTA | Vista Switch Center
TIMOTEO | SAN BERNARDINO | Vista Switch Center
TIPPECANOE | SAN BERNARDINO | Vista Switch Center
VALENCIA | SAN BERNARDINO | Vista Switch Center
VALLEY_OF_THE_MOON_P | VISTA | Vista Switch Center
WEESHA P.T. | VISTA | Vista Switch Center
WEST_RIVERSIDE | VISTA | Vista Switch Center
WILDERNESS P.T. | VISTA | Vista Switch Center
WIMBLEDON | ETIWANDA | Vista Switch Center
YUCAIPA | SAN BERNARDINO | Vista Switch Center
ZANJA | VISTA | Vista Switch Center

## Sheet1
Santiago
Alola
Arbors
Blythe City
Cajalco
Camden
STATION | BUSCONFIG
Camp 10 | NA
Camp Nelson | NA
Edinger 12/4 | 1 //1
Gisler 12 | 4
Hanford 12 | 4
Hi Desert | 1
Johanna | 4
Mt. Wilson
Santiago
Sawtelle
State Street
Telegraph
Casa Diablo 33/12
Rolling Hills 16/4
Gale 33
Lighthipe 12
Inyokern 33/12
Mesa 16
Mira Loma 12
Rector 12
Skylark 12
Santa Barbara 16
San Fernando 16
Highland 12
Nelson 33/12
Victor 33/12
Alessandro 33/12
Fairview
Chestnut
Cabrillo